Department of Paediatric Laboratory Medicine

HQU 01.7    October 2016

HQU 01.7    October 2016

HQU 01.7    October 2016

HQU 01.7    October 2016

Haematology

Handbook for External Users

HQU 026.3.4 October 2026

HQU 01.7    October 2016

HQU 01.7    October 2016

Contents

|  | Page |
| --- | --- |
| Welcome | 3 |
| Contact Us | 4 |
| Who’s Who | 5 |
| Advisory Services | 6 |
| Clinical | 6 |
| Technical and Scientific | 6 |
| Sample labelling | 6 |
| Request forms | 7 |
| Sending us a sample | 7 |
| Accessing your results | 8 |
| Requesting additional investigations | 8 |
| Laboratory Investigations | 9 |
| Haematology | 9 |
| Coagulation | 11 |
| Blood Transfusion | 13 |
| Flow Cytometry | 14 |
| Molecular | 21 |
| Invoices and payments | 24 |
| Laboratory Policy on the Protection of Personal Information | 24 |
| Complaints | 25 |

Welcome to the Department of Haematology at Great Ormond Street Hospital for Children NHS Foundation Trust

The Department of Haematology is committed to providing a service of the highest quality and will take into consideration the needs and requirements of its users. As an external user, we are delighted to be able to offer a comprehensive service of some of the most specialised tests in paediatric medicine.

This handbook gives details of the tests we offer to external users, how to request these tests, sample requirements as well as the clinical advice available. It is important that the correct forms and samples are sent to prevent a delay to the results. All current forms can be found on our website.

Results are available via the GOSH portal, please contact the laboratory manager of the relevant section for details of how to access the results portal.

The Haematology department is a UKAS accredited medical laboratory, No. 8623. Unless otherwise stated, all the tests we offer are UKAS accredited. The department achieved UKAS accreditation in 2019 and have continued throughout this time to maintain the high standards demanded of UKAS. Please log on www.ukas.com for the most recent reports on our accreditation status.

.

A price list for the tests offered is also available, please contact the laboratory manager for further details. Invoices are sent once the results have been authorised.

The department also offers a full range of routine tests and are always willing to assist other laboratory providers in times of need. Please contact the laboratory manager for further information.

HQU 01.7    October 2016

Contact us

| # Main hospital switchboard | 020 7405 9200 |  |
| --- | --- | --- |
| Routine working hours Monday to Friday 08:00 – 17:30 |  |  |
| Laboratories | Telephone (ext. via Switchboard) | Bleep / direct line |
| Haematology Laboratory | 5390 |  |
| Coagulation Laboratory | 5387 |  |
| Blood Transfusion Laboratory | 8527 / 0113 | Direct Line 0207 813 8527 |
| Blood Transfusion emergency line | 8158 | Bleep 0590 |
| SIHMDS – Haematology – Flow Cytometry | 7901 / 1481 | Direct Line 0207 829 7901 |
| SIHMDS – Haematology - Molecular | 5400 |  |
| Out of hours service 20:00 - 08:00 Monday to Friday and all weekend and bank holidays |  |  |
| Blood Transfusion | 0207 813 8527 | Bleep 0590 |
| Haematology and Coagulation | Switchboard ext. 5390 |  |

Who’s Who

| Senior Laboratory Staff |  |  |  |
| --- | --- | --- | --- |
| Lead Laboratory Manager | Christine Morris | 8664 | Direct Line 0207 829 8664 |
| Haematology and Coagulation Laboratory Manager | Zuotimi Eke | 7883 | Direct Line 0207 829 7883 |
| Blood Transfusion Laboratory Manager | Denroy Lindsey | 8467 | Direct Line 0207 813 8467 |
| Quality Lead | Rupal Soni | 5515 |  |
| Transfusion Practitioner | Rachel Moss | 5396 | bleep 0189 |
| Consultant Clinical Scientist | Stuart Adams | 5400 / 5762 | Direct Line 0207 829 5400 |
| SIHMDS Haematology Flow Cytometry Lead Healthcare Scientist | Rebecca Thomas | 7901 | Direct Line 0207 829 7901 |
| SIHMDS Haematology Molecular Lead Healthcare Scientist | Susanne Kricke | 5400 / 5762 | Direct Line 0207 829 5400 |
| Clinical Advice |  |  |  |
| Haematology Specialist Registrars - Laboratory |  | 5394 / 0235 | bleep 0006 OOH via switchboard 0207 405 9200 |
| Haematology Specialist Registrars - Haemophilia |  | 5394 / 0235 | OOH via switchboard 0207 405 9200 |
| Haematology Consultants, CNS and the BMT team |  |  | Contact the relevant Haem SpR in the first instance |

# Advisory Services

Clinical advice

The laboratory specialist registrars and consultants are contactable for clinical advice from 09:00 – 17:30 Monday to Friday

At all other times a Specialist Registrar and Consultant are on call and contactable via the switchboard.

The laboratory Specialist Registrars and Consultants are contactable for clinical advice including;

- clinical indications and choice of appropriate tests

- advice on individual clinical cases

- professional judgement on the interpretation of the results of examinations

Technical and Scientific advice

Please contact the laboratory before collecting samples if you require any advice around the service or testing.

# Sample Labelling

### All samples must be taken and labelled in accordance with National Guidelines at the patient bedside for patient identification. Please refer to individual tests for specific sample requirements.

All samples must be accompanied by a request form, which are available on the website. For Blood Transfusion samples, the name and signature of the venesector is also required.

In instances where a sample fails to meet laboratory acceptance criteria, the requesting ward or doctor will be contacted and a statement to that effect documented in the report.

Request Forms

Please complete an appropriate request form to accompany the sample. Specific request forms the following tests can be downloaded from our website:

https://www.gosh.nhs.uk/wards-and-departments/departments/laboratory-medicine/

Please discuss request for blood film/ bone marrow film morphology with the Haematology Specialist Registrar covering the laboratory before sending the sample.

The request form must also contain the address for the invoice and a Purchase Order (PO) Number. The cost of each test is available on request. Effective from 1st September 2025, GOSH will be implementing a new policy whereby laboratory results will only be released upon receipt of a valid PO number from the requesting external sites. This change is being introduced to ensure accurate billing and streamline administrative processes. Any critical results will be followed up as per usual critical results pathway. Please note, this will not apply to trial work (i.e. R&D studies)

Sending us a Sample

Please send samples to the following addresses:

| Haematology, Coagulation and Blood Transfusion (including slides for the haematology registrars) | Specialist Intergrated Haematological and Molecular Diagnostic Service (SIHMDS) (Flow Cytometry, Molecular) |
| --- | --- |
| Haematology Department Level 1 Camelia Botnar Laboratories Great Ormond Street Hospital Great Ormond Street London WC1N 3JH | SIHMDS - Haematology Level 2 Camelia Botnar Laboratories Great Ormond Street Hospital Great Ormond Street London WC1N 3JH |

Accessing your Results

Results are available from the results portal on our website. The Turnaround time for each test is given in the test section.

In order to gain access to the results portal, please complete the nQuire application form on the web page. Alternatively, please telephone the laboratory for results.

Grossly abnormal or unexpected abnormal results are automatically telephoned to the requesting ward or doctor.

### Requesting additional investigations

If additional investigations are required after the specimen has been dispatched or processed by the laboratory, please telephone as soon as possible.

There is a practical time limit for requesting additional investigations, as the laboratory stores specimens for variable time periods before disposal.

Please note that some specimens deteriorate in storage rendering them unsuitable for further investigation.

| Laboratory Investigations |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| #### Haematology |  |  |  |  |  |
| Test | Sample requirements | Turnaround time | Additional information | Contact the laboratory to arrange the test in advance | Form to use |
| Blood Film Report, including bone marrow slides | 0.3ml venous or capillary blood, EDTA | 96 hours | Unstained films or stained with May-Grünwald / Giemsa. Clearly state the patient's forename, surname, hospital number and date of collection on each slide. Please state the reason for request. | Discuss with the Haem SpR before sending | Haematology Request Form -External Blood Film and Flow Cytometry |
| FBC | 0.5ml venous or capillary blood, EDTA | 4 hours | Must arrive within 6 hours of collection | Not required | Haematology Request Form -External Blood Film and Flow Cytometry |
| Glucose-6-Phosphate Dehydrogenase (G6PD) | 5ml venous or capillary blood, EDTA whole blood | 7 days | Please state the reason for the request. | Please contact the laboratory when sending urgent samples. | Haematology Request Form – G6PD |
| Methotrexate Level | 2ml venous or capillary blood, EDTA plasma | 24 hours | State number of hours post start of methotrexate infusion. Samples must arrive by 12:00pm. Phone for results after 4pm This assay is unsuitable for patients who are on glucarpidase rescue treatment – who have received Glucarpidase in the past 7 days |  | Haematology Request Form -MTX Sample from patients on glucarpidase rescue treatment sent to: Biochemistry Department University College Hospital 60 Whitfield Street W1T 4EU |

| Laboratory Investigations |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| #### Coagulation |  |  |  |  |  |
| Test | Sample requirements | Turnaround time | Additional information | Contact the laboratory to arrange the test in advance | Form to use |
| Anti-Xa Assay | 1.4ml venous blood, citrate (0.5ml neonatal coagulation bottles are unsuitable for this test) | 4 hours | Fill exactly to the line indicated on the bottle. Sample must arrive within 1 hour of collection. 0.5ml neonatal coagulation bottles are unsuitable for this test. Capillary samples are unsuitable for coagulation tests. If the sample is not taken by a peripheral route, it is essential to avoid heparin contamination. Samples must be taken 4-6 hours post last dose of low molecular weight heparin. | Please contact the laboratory prior to sending samples |  |
| Factor Assays (APTT Based) VIII IX XI XII | 2 x 1.4ml venous blood, citrate | 10 days | Fill exactly to the line on the bottle. Must arrive within 2 hours of collection. Capillary samples are unsuitable for coagulation tests. 2.8ml will be sufficient for all tests and a coagulation screen. Factors VIII, IX, XI and XII will be performed. | Please contact the laboratory prior to sending samples |  |

| Laboratory Investigations cont. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Factor Assays (PT Based) II V VI X | 2 x 1.4ml venous blood, citrate | 10 days | Fill exactly to the line on the bottle. Must arrive within 2 hours of collection, if whole blood. Other samples should be spun citrated plasma arriving frozen / on ice. Capillary samples are unsuitable for coagulation tests. 2.8ml will be sufficient for all tests and a coagulation screen. Factors II, V, VII and X will be performed. | Please contact the laboratory prior to sending samples |  |
| Factor VIII Chromogenic | 1.4ml venous blood, citrate | 10 days | Fill exactly to the line on the bottle. Must arrive within 2 hours of collection, if whole blood. Other samples should be spun citrated plasma arriving frozen / on ice. Capillary samples are unsuitable for coagulation tests. If performed with other factor assays, 2.8ml will be sufficient for all tests and a coagulation screen. | Please contact the laboratory prior to sending samples |  |
| Inhibitor Assays | 2 x 1.4ml venous blood, citrate | 14 days | Fill exactly to the line on the bottle. Must arrive within 2 hours of collection, if whole blood. Other samples should be spun citrated plasma arriving frozen / on ice. Capillary samples are unsuitable for coagulation tests. | Not required |  |
| Factor VIII : Vwf Antigen Ratio | None | 30 days | This test is a ratio of factor VIII to vWF antigen. No sample is required for the ratio itself. | Not required |  |
| Fibrinogen Antigen | 1.4ml venous blood, citrate | 30 days | Fill exactly to the line indicated on the bottle. Sample must arrive within 2 hours of collection, if whole blood. Other samples should be spun citrated plasma arriving frozen / on ice. Capillary samples are unsuitable for coagulation tests. | Not required |  |

| Laboratory Investigations |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| #### Blood Transfusion |  |  |  |  |  |
| Test | Sample requirements | Turnaround time | Additional information | Contact the laboratory to arrange the test in advance | Form to use |
| Blood Group and Antibody Screen (only) | 2ml venous blood, EDTA (Blood Transfusion bottle only) | Up to 24 hours | Handwritten and signed by the person who identified and bled the patient. Sample must be labelled at the patient bedside in accordance with BSH Guidelines – samples valid for 24 hours from collection. | Please contact the laboratory if the sample is urgent. | Complete external form, venesector name must be included on the form |
| Direct Antiglobulin Test | 2ml venous blood, EDTA (Blood Transfusion bottle only) | Up to 24 hours | Handwritten and signed by the person who identified and bled the patient. Sample must be labelled at the patient bedside in accordance with BSH Guidelines – sample valid for 7 days from collection | Not required | Complete external form, venesector name must be included on the form |
| Isohaemagglutinin Titres IgM and Total Isohaems (IgG + IgM) | 3ml venous blood, EDTA (Blood Transfusion bottle only) | Up to 7 days | Handwritten and signed by the person who identified and bled the patient. Sample must be labelled at the patient bedside in accordance with BSH Guidelines - sample valid for 7 days from collection. NB. Group will also be performed. | Please contact the laboratory if the sample is urgent. | Complete external form, venesector name must be included on the form |

| Laboratory Investigations |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| #### Specialist Integrated Haematological and Molecular Diagnostic Service (SIHMDS) |  |  |  |  |  |
| SIHMDS samples: discuss with laboratory as volume required is influenced by total cell count specifically immunophenotyping, MRD and engraftment analysis. |  |  |  |  |  |
| #### Flow Cytometry |  |  |  |  |  |
| Test | Sample requirements | Turnaround time | Additional information | Contact the laboratory to arrange the test in advance | Form to use |
| B-cell maturation panel | ACD-A 9ml bottle, of BM aspirate or EDTA | 3 days | This analysis can be performed on an ACD-A/EDTA sample that has been sent for other immunophenotyping requests | Discuss with Haem SpR and contact the laboratory (x1481) before sending | Hematology Request Form-External Blood Film and Flow Cytometry |
| Bone marrow/blood characterisation (haematological) | ACD-A 9ml bottle, Venous or BM aspirate or EDTA Note: Pancytopaenic patient may require larger volume | 5 days | This analysis can be performed on an ACD-A/EDTA sample that has been sent for other immunophenotyping requests | Discuss with Haem SpR and contact the laboratory (x1481) before sending | Hematology Request Form-External Blood Film and Flow Cytometry |
| Bone marrow film report | Bone marrow film or 0.3ml bone marrow, EDTA | 7 days | Clearly record the patient's surname, forename, hospital number and date of collection on each slide. | Discuss with Haem SpR and contact the laboratory (x1481) before sending | Hematology Request Form-External Blood Film and Flow Cytometry |
| CD66abce expression on leukaemic cells | ACD-A 9 ml bottle, Venous or BM aspirate or EDTA | 4 days | This analysis can be performed on an ACD-A/EDTA sample that has been sent for other immunophenotyping requests | Contact the laboratory (x1481) before sending | SIHMDS-Haem Flow Cytometry Request Form-CD66abce expression |

| Laboratory Investigations cont. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| EMA binding (HS) | EDTA Venous Small volume required 200uls | 7 days | EMA can be performed on FBC sample | Discuss with Haem SpR and contact the laboratory (x1481) before sending | Hematology Request Form-External Blood Film and Flow Cytometry |
| Erythroid Immunophenotyping | ACD-A 9ml bottle, Venous or BM aspirate or EDTA | 3 days | This analysis can be performed on an ACD-A/EDTA sample that has been sent for other immunophenotyping requests | Discuss with Haem SpR and contact the laboratory (x1481) before sending | Hematology Request Form-External Blood Film and Flow Cytometry |
| Flow MRD (ALL, AML, Post BMT and CAR-T monitoring) | ACD-A 9ml bottle, Venous or BM aspirate or EDTA Note: Pancytopaenic patient may require larger volume | 5 days | This analysis can be performed on an ACD-A/EDTA sample that has been sent for other immunophenotyping requests | Contact the laboratory (x1481) before sending | For Post CAR-T monitoring use SIHMDS-Haem Flow Cytometry Request Form-Post CAR-T Monitoring |
| Intra cellular markers (MPO, cCD79a, cCD3) | ACD-A 9ml bottle, Venous or BM aspirate or EDTA | 4 days | This analysis can be performed on an ACD-A/EDTA sample that has been sent for other immunophenotyping requests | Contact the laboratory (x1481) before sending | SIHMDS-Haem Flow Cytometry Request Form-CD66abce expression |
| Iron stain | bone marrow slide | 10 days |  | Discuss with Haem SpR and contact the laboratory (x1481) before sending | Hematology Request Form-External Blood Film and Flow Cytometry |

| Laboratory Investigations cont. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Lymphoma immunophenotyping | ACD-A or EDTA 9ml bottle, Venous or BM aspirate Tissue Biopsy (Discuss with lab) CSF, Pleural Fluid, Peritoneal Fluid, Other Fluid – Sterile universal ACD-A 9ml bottle, Venous or BM aspirate Tissue Biopsy (Discuss with Lab) | 3 days | This analysis can be performed on an ACD-A/EDTA sample that has been sent for other immunophenotyping requests. Optimally same day analysis is required Discuss with lab size of sample required | Discuss with Haem SpR and contact the laboratory (x1481) before sending | Hematology Request Form-External Blood Film and Flow Cytometry |
| MLL associated NG2 expression on leukaemia cells | ACD-A or EDTA 9ml bottle, Venous or BM aspirate | 3 days | This analysis can be performed on an ACD-A/EDTA sample that has been sent for other immunophenotyping requests | Contact the laboratory (x1481) before sending | Hematology Request Form-External Blood Film and Flow Cytometry |
| Myelodysplastic / myeloproliferative disorders (diagnostic and follow up) | ACD-A or EDTA 9ml bottle, Venous or BM aspirate Note: Pancytopaenic patient may require larger volume | 5 days | This analysis can be performed on an ACD-A/EDTA sample that has been sent for other immunophenotyping requests | Discuss with Haem SpR and contact the laboratory (x1481) before sending | Hematology Request Form-External Blood Film and Flow Cytometry |
| Myeloid immunophenotyping | ACD-A or EDTA 9ml bottle, Venous or BM aspirate | 3 days | This analysis can be performed on an ACD-A/EDTA sample that has been sent for other immunophenotyping requests | Discuss with Haem SpR and contact the laboratory (x1481) before sending | Hematology Request Form-External Blood Film and Flow Cytometry |

| Laboratory Investigations cont. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Neuroblastoma solid tumour markers (diagnostic and follow up) | ACD-A or EDTA 9ml bottle, Venous or BM aspirate Tissue Biopsy (Discuss with Lab) | 3 days | This analysis can be performed on an ACD-A/EDTA sample that has been sent for other immunophenotyping requests. Discuss with lab size of sample required | Contact the laboratory (x1481) before sending | Hematology Request Form-External Blood Film and Flow Cytometry |
| Platelet glycoproteins | 1.4ml EDTA, Venous | 24hrs | To arrive in lab <3hrs post sampling Hand deliver (do not put in chute system) | Discuss with Haem SpR and contact the laboratory (x1481) before sending | Hematology Request Form-External Blood Film and Flow Cytometry |
| PNH | 1.4ml EDTA, Venous | 4 days |  | Discuss with Haem SpR and contact the laboratory (x1481) before sending | Hematology Request Form-External Blood Film and Flow Cytometry |
| Pre CAR-T assessment and leukaemic cell quantification of: -CD19 -CD22 -CD52 -CD7 -CD33 | ACD-A or EDTA 9ml bottle, Venous or BM aspirate Note: Pancytopaenic patient may require larger volume | 3 days | This analysis can be performed on an ACD-A/EDTA sample that has been sent for other immunophenotyping requests. Please provide diagnostic/relapse immunophenotyping results. | Contact the laboratory (x1481) before sending | SIHMDS-Haem Flow Cytometry Request Form-Pre CAR-T Assessment |

| #### Laboratory Investigations |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| #### SIHMDS – Haematology, Molecular |  |  |  |  |  |
| Test | Sample requirements | TAT | Additional information | Contact the laboratory to arrange the test in advance | External referrals |
| ADA Mutation | 1ml venous blood, EDTA | Up to 60 Days | Research only. Not ISO 15189 accredited as of August 2026 | Not required |  |
| BMT engraftment studies | 1ml venous blood, EDTA Or 1ml bone marrow, EDTA | 10 days | For whole blood chimerism or whole bone marrow chimerism only. Please note that there is also a separate test for cell lineage chimerism analysis (listed in this table) ISO 15189 accredited | Not required | The laboratory requires a pre-BMT and a donor sample to process this request. In case this is a first-time request, and these samples are not available, please contact the lab on 0207 405 9200 x5400. |
| Cell lineage chimerism analysis | 5ml venous blood, EDTA | 10 days | ISO 15189 accredited | Not required | The laboratory routinely processes CD3+ T cells, CD15+ granulocytes and/or CD19+ B cells. Other cell lineages are available upon request. Please contact the lab on 0207 405 9200 x5400 for further information. The laboratory requires a pre-BMT and a donor sample to process this request. In case this is a first-time request, and these samples are not available, please contact the lab. |

| Laboratory Investigations cont. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Recipient Pre-BMT sample | 1ml venous blood, EDTA Or 10ng extracted DNA Or buccal swab (sterile, no transport medium) | 30 days | ISO 15189 accredited | Not required | This is a non-reportable test. A pre-BMT sample is required to interpret subsequent samples for engraftment/chimerism studies. |
| Donor sample | 1ml venous blood, EDTA Or 10ng extracted DNA Or buccal swab (sterile, no transport medium) | 30 days | ISO 15189 accredited | Not required | This is a non-reportable test. A donor sample is required to interpret subsequent samples for engraftment/chimerism studies. |
| Cell fractionation | 5ml venous blood, EDTA | 7 days | ISO 15189 accredited | Not required |  |
| Spectratyping | 5ml venous blood, EDTA | 28 days | If requesting this test alongside the TRECS test, a total of 5ml is sufficient for both tests ISO 15189 accredited | Not required |  |
| TRECS analysis | 5ml venous blood, EDTA | 28 days | If requesting this test alongside the Spectratyping test, a total of 5ml is sufficient for both tests ISO 15189 accredited | Not required |  |
| Laboratory Investigations cont. |  |  |  |  |  |
| TRECs screening on Dried Blood Spots (Guthrie card) | 1 dried blood spot | 28 days | Not ISO 15189 accredited | Contact laboratory on 0207 405 9200 x5400 | Only available by prior arrangement. For retrospective investigation of immune deficiencies only. |
| Kymriah CART cell persistence by VCN | 5ml venous blood, EDTA | 21 days | ISO 15189 accredited | Not required |  |
| Molecular Minimal Disease (MRD) Monitoring for Acute Lymphoblastic Leukaemia (ALL) | Please see specific detailed instructions below in separate able |  | ISO 15189 accredited | Please see specific detailed instructions below in separate table | Please see specific detailed instructions below in separate table |
| Dispatch/ Handling Instructions for all Molecular and Immune Reconstitution samples | Transport to laboratory at room temperature. Do not refrigerate samples. Should be received within 72 hours of collection |  |  |  |  |
| Request forms for external requests | Requests forms are available to users by emailing gos-tr.molhaem@nhs.net. |  |  |  |  |

Laboratory Investigations

#### Molecular Minimal Residual Disease (molecular MRD) - including ALLTogether (A2G) Trial

1 Criteria for Accepting or Rejecting Samples

All recommendations in this Handbook, for molecular MRD analysis of ALL samples, are taken from the A2G Trial 2019 Protocol for UKMRD Network. A copy of the handbook is available upon request by e-mailing gos-tr.sihmdsmolecularmrd@nhs.net. If a sample does not fit any of the scenarios outlined in the six paragraphs below, the next course of action shall be discussed with a Haematology Consultant.

- Preparation of Patient

No special requirements.

3 Consent

Informed Consent, if given, by patient/ guardian is managed by the clinical team and signed evidence is sent to the GOSH Data Management Team. Data Management Team informs laboratory staff via LIMS (EPIC) when any patient consents to A2G Trial. Molecular MRD samples are tested in the same manner whether the patient is on Trial or not. For GOSH patients who consent to the Trial, laboratory staff send some patient cells to the UK Biocentre at Stockport, UK, and forward anonymised patient results to CRCTU (Cancer Research UK Clinical Trials Unit).

4 Request Form

All requests for molecular MRD analysis should be on an A2G 2019 MRD Request Form, whether the patient/ guardian has consented to the trial or not. If the patient has consented to Trial, or for new diagnosis patients please also complete and send a Cell Bank sample information sheet. Please fill in all blank fields on forms. These forms are available to users by e-mailing gos-tr.sihmdsmolecularmrd@nhs.net

| 5 Suitable Sample Type and Anticoagulant |  |
| --- | --- |
| Sample Type | Minimum Amount |
| Bone Marrow Aspirate | Diagnosis: 10 x106 mononuclear cells |
|  | All other timepoints: 5x106 mononuclear cells |
| Peripheral Blood – is only acceptable if the sample is a diagnostic sample from a patient who cannot provide a bone marrow aspirate. Peripheral blood can only be used if the blast count is >20%. Peripheral blood will not be accepted for relapse samples or for any other timepoints. | Diagnosis: 10 x106 mononuclear cells |
|  | All other timepoints: 5 x106 mononuclear cells |
| Bone Marrow Trephine – UNFIXED Trephine (in saline-soaked gauze) is only acceptable for diagnostic ALL samples with cell-poor, or no, accompanying bone marrow aspirate. | - In such cases an accompanying histopathology/flow cytometry report for the sample specimen is required to proceed with molecular MRD using a trephine sample. - If the sample is inadequate for both histology and molecular MRD, allow a Haematology or Histology Consultant decide which information will be of most use and process the sample accordingly. - If trephine is received in saline for a condition other than ALL, or with an accompanying aspirate sample that has adequate cell count for both immunophenotyping and molecular MRD – laboratory staff will take the sample without delay to Histology staff on Camelia Botnar Laboratories Level 3 to add formalin to the trephine before the tissue deteriorates further. |
| Bone Marrow Aspirate Slides | - FIXED or UNFIXED slides are only accepted when no other diagnostic material is available and only after discussion with laboratory staff or Haematology Consultant. |
| Anticoagulant |  |
| Bone marrow aspirate or peripheral blood samples should be taken in ACD tubes. EDTA may be used only if ACD is unavailable. Requests for molecular MRD analysis of EDTA samples is at the discretion of the requesting Consultant and interpretation of that result must be made with this in mind. |  |
| 6 Transportation of Samples |  |
| Temperature | - Transport to the laboratory at room temperature. Samples are not to be refrigerated overnight or for longer periods as this will negatively affect mononuclear cell isolation |
| Timing | - For optimum results, sample processing must begin as soon as possible and no later than 6 hours post collection. Samples received outside of this timeframe will still be tested but interpretation of that result must be made with this in mind and is the responsibility of the clinician. Date and time sample received is printed on each report. |
| Delivery route | - GOSH samples may be delivered to the laboratory (CBL Level 2 P2.012) directly from theatre/ ward by any GOSH staff member, between 09:00 and 17:15, Mon-Fri. Outside these times the sample must be delivered to the Haematology Scientist On-Duty (CBL Level1 P1.012). - External samples are sent to the laboratory via Mail or Courier and received by the SIHMDS Haematology Laboratory (CBL Level 2 P2.012). Such packages will normally be addressed to Stuart Adams, Camelia Botnar Laboratories, Great Ormond Street Hospital, WC1N 3JH. Patients/ guardians are never required to deliver such samples personally to the laboratory. |

Invoices and Payments

Invoices for each test are sent monthly, following the release of the results. There is a charge for handling samples which arrive and are not suitable for analysis.

Effective from 1st September 2025, GOSH will be implementing a new policy whereby laboratory results will only be released upon receipt of a valid PO number from the requesting external sites. This change is being introduced to ensure accurate billing and streamline administrative processes. Any critical results will be followed up as per usual critical results pathway. Please note, this will not apply to trial work (i.e. R&D studies)

Laboratory Policy on Protection of Personal Information

The laboratory adheres to the Trust’s Policy on Information Governance to ensure compliance with the key principles of Information Governance. The Trust wishes to ensure all patients and service users to have confidence that their records will be maintained securely and will not be disclosed or shared inappropriately. The laboratory has a procedure for the management of data and protection of personal information that is controlled and maintained by the Pathology System Manager and the Data Manager.

These procedures cover:

- Security - data is accessible only to authorised users via a valid and current password.

- Individual user access to functions and facilities - this is restricted to ensure no user has inappropriately high access levels.

- Confidentiality and data protection - the security and access features ensure confidentiality is maintained to authorised and appropriate parties.

- All staff within the laboratory complete mandatory information governance training, are aware of the requirements to maintain confidentiality and the restrictions imposed by the laboratory regarding information dissemination.

The Trust Data Protection Officer and ICT Department advise the laboratory regarding requirements to comply with current and future legislation for Data Protection.

If you have any further query, please contact the laboratory.

Laboratory Complaints Procedure

The medical and senior management staff in the Department of Paediatric Laboratory Medicine work very closely with users both within the Hospital Trust and with external referring clinicians. To provide the best service to its users, the department encourages both positive and negative feedback

To make a complaint about the service, please write/email the Lead Laboratory Manager in the first instance. Investigation of the complaint and resolution will be made within 20 working days.